## Lipid standard
LipidClass | ScanPolarity | PrecursorIdentifier | FragmentAIdentifier | FragmentBIdentifier | FragmentCIdentifier | LowerBoundMultiplier | UpperBoundMultiplier | Blank Ratio A/B | Ratio A/B | amount added (pmol)
LPE | negative | [PE 18:1(+[2]H7) -H]- | FA 18:1(+[2]H7) (+O) | NA | NA |  |  |  |  | 7.9
PA | negative | [PA 15:0_18:1(+[2]H7) -H]- | FA 15:0 (+O) | FA 18:1(+[2]H7) (+O) | NA | 0.3 | 3 | 2.5729 | TRUE | 7.8
LPA | negative | [PA 15:0_18:1(+[2]H7) -H]- | FA 15:0 (+O) | FA 18:1(+[2]H7) (+O) | NA
PE | negative | [PE 15:0_18:1(+[2]H7) -H]- | FA 15:0 (+O) | FA 18:1(+[2]H7) (+O) | NA | 0.05 | 3 | 0.3403 | TRUE | 5.8
CL | negative | [PG 15:0_18:1(+[2]H7) -H]- | FA 15:0 (+O) | FA 18:1(+[2]H7) (+O) | NA |  |  |  |  | 27.4
PG | negative |  |  |  |  | 0.3 | 3 | 0.3575 | TRUE
LPG | negative | [PG 15:0_18:1(+[2]H7) -H]- | FA 15:0 (+O) | FA 18:1(+[2]H7) (+O) | NA
PI | negative | [PI 15:0_18:1(+[2]H7) -H]- | FA 15:0 (+O) | FA 18:1(+[2]H7) (+O) | PI(241) | 0.3 | 3 | 0.992 | TRUE | 7.9
LPI | negative
PS | negative | [PS 15:0_18:1(+[2]H7) -H]- | FA 15:0 (+O) | FA 18:1(+[2]H7) (+O) | -PS(87) | 0.3 | 3 | 2.5528 | TRUE | 3.9
LPS | negative
Cer | positive | [Cer 18:1/17:0;0 +H]+ | LCB 17:0;0(-H3O2) | NA | NA |  |  |  |  | 75.4
CE | positive | [CE 18:1(+[2]H7) +NH4]+ | -FA 1:18(+[2]H7 +HO) -CE(17) | NA | NA |  |  |  |  | 392
DAG | positive | [DAG 15:0_18:1(+[2]H7) +NH4]+ | -FA 15:0(-H) -DAG(35) | -FA 1:18(+[2]H7 -H) -DAG(35) | NA | 0.1 | 10 | 0.984 | TRUE | 11.7
LPC | positive | [LPC 18:1(+[2]H7) +H]+ | PC(184) | NA | NA |  |  |  |  | 156.8
PC | positive | [PC 33:1(+[2]H7) +H]+ | PC(184) | NA | NA |  |  |  |  | 35.3
TAG | positive | [TAG 48:1(+[2]H7) +NH4]+ | -FA 1:18(+[2]H7 +HO -TAG(17)) | NA | NA |  |  |  |  | 51
SM | positive | [SM 36:2;0(+[2]H9) +H]+ | SM(184) | NA | NA |  |  |  |  | 31.4
Chol-d | positive | acetylated | Chol(376) | NA | NA |  |  |  |  | 195.9
The lipid standard mix was composed from SPLASH® LIPIDOMIX® Mass Spec Standard andC17 Ceramide (d18:1/17:0) (Avanti Polar Lipids, Alabaster, USA).

## Internal_Standard_PIPx - MRM
ID | Lipid | Transition | Collision energie (V) | Cone (V) | Dwell time (s) | Comment | Acquisition
1 | 17:0_20:4_PI(4)P | 995.56->613.50 | 30 | 40 | 0.3 | Internal Standard | 1
2 | 17:0_20:4_PI(4)P | 1009.56->613.50 | 30 | 40 | 0.3 | Internal Standard | 1
3 | 38:4__PI(4)P | 1009.56->627.50 | 30 | 40 | 0.3 | endogenous lipid | 1
4 | 17:0_20:4_PI(4)P | 1023.56->613.50 | 30 | 40 | 0.3 | Internal Standard | 1
5 | 38:4__PI(4)P | 1023.56->627.50 | 30 | 40 | 0.3 | endogenous lipid | 1
6 | 38:4__PI(4)P | 1037.56->627.50 | 30 | 40 | 0.3 | endogenous lipid | 1
7 | 17:0_20:4_PI(4,5)P2 | 1103.56->613.50 | 30 | 40 | 0.3 | Internal Standard | 1
8 | 17:0_20:4_PI(4,5)P2 | 1117.56->613.50 | 30 | 40 | 0.3 | Internal Standard | 1
9 | 38:4__PI(4,5)P2 | 1117.56->627.50 | 30 | 40 | 0.3 | endogenous lipid | 1
10 | 38:4__PI(4,5)P2 | 1131.56->627.50 | 30 | 40 | 0.3 | endogenous lipid | 1
11 | 17:0_20:4_PI(3,4,5)P3 | 1211.56->613.50 | 30 | 40 | 0.3 | Internal Standard | 1
12 | 17:0_20:4_PI(3,4,5)P3 | 1225.56->613.50 | 30 | 40 | 0.3 | Internal Standard | 1
13 | 38:4__PI(3,4,5)P3 | 1225.56->627.50 | 30 | 40 | 0.3 | endogenous lipid | 1
14 | 38:4__PI(3,4,5)P3 | 1239.56->627.50 | 30 | 40 | 0.3 | endogenous lipid | 1
15 | 34:1_PI(4)P | 959.5->577.5 | 30 | 40 | 0.3 | endogenous lipid | 2
16 | 34:1_PI(4)P | 973.5->577.5 | 30 | 40 | 0.3 | endogenous lipid | 2
17 | 36:2_PI(4)P | 985.5->603.5 | 30 | 40 | 0.3 | endogenous lipid | 2
18 | 34:1_PI(4)P | 987.5->577.5 | 30 | 40 | 0.3 | endogenous lipid | 2
19 | 36:2_PI(4)P | 999.5->603.5 | 30 | 40 | 0.3 | endogenous lipid | 2
20 | 36:2_PI(4)P | 1013.5->603.5 | 30 | 40 | 0.3 | endogenous lipid | 2
21 | 34:1_PI(4,5)P2 | 1067.5->577.5 | 30 | 40 | 0.3 | endogenous lipid | 2
22 | 34:1_PI(4,5)P2 | 1081.5->577.5 | 30 | 40 | 0.3 | endogenous lipid | 2
23 | 36:2_PI(4,5)P2 | 1093.5->603.5 | 30 | 40 | 0.3 | endogenous lipid | 2
24 | 36:2_PI(4,5)P2 | 1107.5->603.5 | 30 | 40 | 0.3 | endogenous lipid | 2
25 | 34:1_PI(3,4,5)P3 | 1175.5->577.5 | 30 | 40 | 0.3 | endogenous lipid | 2
26 | 34:1_PI(3,4,5)P3 | 1189.5->577.5 | 30 | 40 | 0.3 | endogenous lipid | 2
27 | 36:2_PI(3,4,5)P3 | 1201.5->603.5 | 30 | 40 | 0.3 | endogenous lipid | 2
28 | 36:2_PI(3,4,5)P3 | 1215.5->603.5 | 30 | 40 | 0.3 | endogenous lipid | 2
Internal standards were purchased from Avanti Polar Lipids.
In each sample prior extraction 200.5 pmol of each IS were added.

## LC Gradient_ESI_condition_PIPx
LC conditions | Gradient:
solvent A: 0.1% FA in water | time (min) | B(%)
solvent B: 0.1 % FA in ACN | 0 | 30
flowrate on column: 0.5 mL/min | 5 | 70
injection volume: 10 µL | 10 | 95
| 14 | 95
| 15 | 30
| 20 | 20
ESI-Source conditions
post column split 0.1 mL/min
Desolvation temp.: 300 °C
Source temp.: 120 °C
Desolvation gasflow: 800 L/h